# EXAMPLE LAB REPORT #1

I.M. Chemist             									10-2-80

HEAT OF COMBUSTION BY BOMB CALORIMETER

In the experiment we will find the heat of combustion of naphthalene.

Condensed Directions

1.	Determine heat capacity of calorimeter by burning a sample of benzoic acid.

2.	Repeat procedure with “unknown”.

Constants - Other Useful Date

Heat of combustion of benzoic acid				6318 cal/g

(from manufacturer, Parr)

Heat of combustion of Wire						2.3 cal/cm

(from manufacturer, Parr)

References

Cockford, Nowell Baird, Getzen Laboratory Manual of Physical Chemistry, 2nd ed., Wiley, p. 109

Myers,  handout

Equations

(mass sample)()  +  (cm wire)(2.3 cal / cm)  =

Known:  Benzoic Acid

wt. container		1.4090 g					length wire burned =

sample + cont.	2.5046 g							4. 1 cm

wt sample		1.0959	1.0956 g

| Time (min) | Temp (C) |  | Time (min) | Temp (C) |  |
| --- | --- | --- | --- | --- | --- |
| -3 | 23.169 |  | 6 | 26.008 |  |
| -2 | 23.169 |  | 7 | 26.008 |  |
| -1 | 23.169 |  | 8 | 26.008 |  |
| 0(ignite) | 23.169 |  | 9 | 26.008 |  |
| 1 | 25.000 |  | 10 | 26.005 | 26.004 |
| 2 | 25.700 |  |  |  |  |
| 3 | 25.950 |  |  |  |  |
| 4 | 38.030 | 25.995 |  |  |  |
| 5 | 26.000 |  |  |  |  |

Sample:  Naphhalene

container wt.		1.4838g					wire burned =

container + sample	2.4564g						6.7 cm

0.

sample weight	0.9726g

| Time (min) | Temp (C) |  |
| --- | --- | --- |
| 0 | 25.600 |  |
| 1 | 25.800 |  |
| 2 | 27.190 |  |
| 3 | 27.300 |  |
| 4 | 27.348 |  |
| 5 | 27.341 | 27.351 |
| 6 | 27.352 |  |
| 7 | 27.352 |  |
| 8 | 27.352 |  |