# EXAMPLE LAB REPORT #2

I.M. Chemist

10-2-80

Physical Chemistry							I.M. Chemist

Experiment #6							Lab Partner:  L. Boltzman

Molecular Weight by the Boiling Point Method

Laboratory Work Began Nov. 20, 1979

Laboratory Work Completed Nov. 27, 1979

Report Turned in December 4, 1979

I.	Purpose

The purpose of this experiment is to determine the molecular weight of a non-volatile solute by the boiling point elevation method.  The solvent is acetone and 	the solute is p-nitrotoluene.

II.	Theoretical Discussion

The boiling point of a solvent is raised by the addition of a non-volatile solute due 	to the fact that the vapor pressure of the solvent is lowered by the impurity.  The 		following equation is derived from the theory of ideal solutions:

is the elevation of the boiling point, m is the molar concentration of the solute,

is the molar heat of vaporization of the solvent, is the molecular weight of 	the solvent, R is the ideal gas constant, and  is the boiling point of the pure 		solvent.

References:  Physical Chemistry, Moore, 1972,  p. 276;

Physical Chemistry, Daniels and Alberty, 1967, p.153.

III.	Experimental Procedure

A.	Apparatus

1.	Cottrell-Ramsay-Young boiling point apparatus

2.	Beckman thermometer.

B.	Procedure

- Obtain the boiling point of a known weight of acetone 	(approximately 50 ml).

- Add known weight of solute and note boiling point when it becomes constant.

- Repeat.

C.	Reference:   A Brief Introduction to the Physical Chemistry Laboratory, 			Myers, 1972, p. 48.

IV.	Data and Calculations

A.  	Data

weight acetone = 39.6 g

boiling point of acetone = 2.790C (on Beckman)

| Run Number | Weight Solute Added | Total Weight Solute | Boiling Point | Temperature Elevation |
| --- | --- | --- | --- | --- |
| 1 | 0.4585 g | 0.4585 g | 2.950 | 0.160 |
| 2 | 0.2390 g | 0.6979 g | 3.025 | 0.235 |
| 3 | 0.3612 g | 1.0591 g | 3.155 | 0.365 |

B.  	Sample Calculation

where,

or 	,

,

C.	Results

| Run Number | Molecular Weight |
| --- | --- |
| 1 | 124 |
| 2 | 128 |
| 3 | 125 |
| Average | 126.2  2 |
| Correct Value | 137 |

V.	Discussion of Results

The molecular weight of p-nitrotoluene was found to be 126 g / mol.  This represents an error of 8% as the correct value is 137.

Since precise instruments, such as the Beckman thermometer and Mettler balance, were used, it seems that the error should be considerable less than 8%.  Some sources of error include reading instruments, impure chemicals, and error in procedure.